## Hoja2 (hidden)
Method | Parámetro | Tipo | Designation No. | Method Code
Andersen Instruments RAAS10-100 | MP10 | Samplers | RFPS-0699-130 | 130
Andersen Instruments RAAS10-200 | MP10 | Samplers | RFPS-0699-131 | 131
Andersen Instruments RAAS10-300 | MP10 | Samplers | RFPS-0699-132 | 132
BGI or Mesa Laboratories Incorporated Model PQ100 | MP10 | Samplers | RFPS-1298-124 | 124
BGI or Mesa Laboratories Incorporated Model PQ200 | MP10 | Samplers | RFPS-1298-125 | 125
Ecotech Model 3000 PM10 High Volume Sampler | MP10 | Samplers | RFPS-0706-162 | 162
Met One Instruments, Inc. E-FRM– PM10 | MP10 | Samplers | RFPS-0216-231 | 231
Met One Instruments, Inc. E-SEQ-FRM with WINS | MP10 | Samplers | RFPS-0717-246 | 246
Met One Instruments, Inc. E-SEQ-FRM with VSCC™ | MP10 | Samplers | RFPS-0717-246 | 546
New Star Environmental Model NS-6070 | MP10 | Samplers | RFPS-0202-141 | 141
Oregon DEQ Medium volume sampler | MP10 | Samplers | RFPS-0389-071 | 71
Rupprecht & Patashnick Partisol® 2000 | MP10 | Samplers | RFPS-0694-098 | 98
R & P Partisol®-FRM 2000 | MP10 | Samplers | RFPS-1298-126 | 126
R & P Partisol®-Plus 2025 Seq. | MP10 | Samplers | RFPS-1298-127 | 127
Sierra-Andersen/GMW 1200 | MP10 | Samplers | RFPS-1287-063 | 63
Sierra-Andersen/GMW 321-B | MP10 | Samplers | RFPS-1287-064 | 64
Sierra-Andersen/GMW 321-C | MP10 | Samplers | RFPS-1287-065 | 65
Sierra-Andersen/GMW SA241, SA241M Dichot. | MP10 | Samplers | RFPS-0789-073 | 73
Thermo Scientific Partisol® 2000 | MP10 | Samplers | RFPS-0694-098 | 98
Thermo Scientific Partisol® 2000-D, Partisol® 2000i-D | MP10 | Samplers | EQPS-311-197 | 197
Thermo Scientific Partisol® 2000-FRM, Partisol® 2000i | MP10 | Samplers | RFPS-1298-126 | 126
Thermo Scientific Partisol®-Plus 2025 Seq., Partisol® 2025i Seq | MP10 | Samplers | RFPS-1298-127 | 127
Thermo Scientific Partisol®-Plus 2025-D Seq., Partisol® 2025i-D Seq | MP10 | Samplers | EQPS-0311-198 | 198
Tisch Environmental Model TE-6070 | MP10 | Samplers | RFPS-0202-141 | 141
Tisch Environmental Model TE-Wilbur 10 | MP10 | Samplers | RFPS-0714-216 | 216
W&A/Thermo Electron Model 600 HVL | MP10 | Samplers | RFPS-1087-062 | 62
Andersen Instruments FH62I-N Beta | MP10 | Analyzers | EQPM-0990-076 | 76
DKK-TOA FPM-222/222C/223/223C | MP10 | Analyzers | EQPM-0905-156 | 156
DKK-TOA DUB-222(S)/223(S) | MP10 | Analyzers | EQPM-0905-156 | 156
Environnement S.A. MP101M Beta | MP10 | Analyzers | EQPM-0404-151 | 151
Horiba APDA-371 | MP10 | Analyzers | EQPM-0798-122 | 122
Met One BAM1020, GBAM1020, BAM1020-1, GBAM1020-1 Beta | MP10 | Analyzers | EQPM-0798-122 | 122
Met One Instruments, Inc. E-BAM PLUS | MP10 | Analyzers | EQPM-1215-226 | 226
Opsis SM200 | MP10 | Analyzers | EQPM-0810-193 | 193
R & P TEOM® 1400, 1400a | MP10 | Analyzers | EQPM-1090-079 | 79
SWAM 5a Dual Channel Monitor | MP10 | Analyzers | EQPM-0912-205 | 205
Teledyne Model 602 BetaPLUS Particle Measurement System | MP10 | Analyzers | EQPM-0912-205 | 205
Teledyne Model T640 PM Mass Monitor with 640X option | MP10 | Analyzers | EQPM-0516-239 | 239
Thermo Andersen Series FH 62 C14 Beta Monitor, 5014i Beta | MP10 | Analyzers | EQPM-1102-150 | 150
Thermo Scientific TEOM® 1400AB, 1405 | MP10 | Analyzers | EQPM-1090-079 | 79
Thermo Scientific TEOM® 1405-DF with FDMS® | MP10 | Analyzers | EQPM-1013-208 | 208
W&A/Thermo Electron 650 Beta Gauge | MP10 | Analyzers | EQPM-0391-081 | 81
Andersen Model RAAS2.5-200 Audit with WINS | MP2.5 | Samplers | RFPS-0299-128 | 128
BGI or Mesa Laboratories Inc. PQ200/200A with WINS | MP2.5 | Samplers | RFPS-0498-116 | 116
BGI or Mesa Laboratories Inc. PQ200-VSCC™ or PQ200A-VSCC™ | MP2.5 | Samplers | RFPS-0498-116 or EQPM-0202-142 | 142
Graseby Andersen RAAS2.5-100 with WINS | MP2.5 | Samplers | RFPS-0598-119 | 119
Graseby Andersen RAAS2.5-300 with WINS | MP2.5 | Samplers | RFPS-0598-120 | 120
Met One Instruments, Inc. E-FRM with WINS | MP2.5 | Samplers | RFPS-0315-221 | 221
Met One Instruments, Inc. E-FRM with VSCC™ | MP2.5 | Samplers | RFPS-0315-221 | 521
Met One Instruments, Inc. E-FRM with URG | MP2.5 | Samplers | EQPS-0316-235 | 235
Met One Instruments, Inc. E-SEQ-FRM with WINS | MP2.5 | Samplers | RFPS-0717-245 | 245
Met One Instruments, Inc. E-SEQ-FRM with VSCC™ | MP2.5 | Samplers | RFPS-0717-245 | 545
R & P Partisol®-FRM 2000 PM2.5 with WINS | MP2.5 | Samplers | RFPS-0498-117 | 117
R & P Partisol®-FRM 2000 PM-2.5 Thermo Scientific with VSCC™ | MP2.5 | Samplers | RFPS-0498-117 or EQPM-0202-143 | 143
R & P Partisol® 2000 PM-2.5 Audit with WINS | MP2.5 | Samplers | RFPS-0499-129 | 129
R & P Partisol® 2000 PM-2.5 Audit with VSCC™ | MP2.5 | Samplers | RFPS-0499-129 or EQPM-0202-144 | 144
R & P Partisol®-Plus 2025 PM-2.5 Seq. with WINS | MP2.5 | Samplers | RFPS-0498-118 | 118
R & P Partisol®-Plus 2025 PM-2.5 Seq. with VSCC™ | MP2.5 | Samplers | RFPS-0498-118 or EQPM-0202-145 | 145
Thermo Electron RAAS2.5-100 with VSCC™ | MP2.5 | Samplers | RFPS-0598-119 or EQPM-0804-153 | 153
Thermo Electron RAAS2.5-100 with WINS | MP2.5 | Samplers | RFPS-0598-119 | 119
Thermo Electron RAAS2.5-200 with VSCC™ | MP2.5 | Samplers | RFPS-0299-128 or EQPM-0804-154 | 154
Thermo Electron RAAS2.5-200 with WINS | MP2.5 | Samplers | RFPS-0299-128 | 128
Thermo Electron RAAS2.5-300 with VSCC™ | MP2.5 | Samplers | RFPS-0598-120 or EQPM-0804-155 | 155
Thermo Electron RAAS2.5-300 with WINS | MP2.5 | Samplers | RFPS-0598-120 | 120
Thermo Environmental Model 605 CAPS | MP2.5 | Samplers | RFPS-1098-123 | 123
Thermo Scientific Partisol® 2000-D Dichot., Partisol® 2000i-D Dichot. | MP2.5 | Samplers | EQPS-0509-177 | 177
Thermo Scientific Dichot. Partisol®-Plus Model 2025-D Seq., Partisol® 2025i-D Dichot. Seq. | MP2.5 | Samplers | EQPS-0509-179 | 179
Thermo Scientific Partisol® 2000-FRM, Partisol® 2000i with WINS | MP2.5 | Samplers | RFPS-0498-117 | 117
Thermo Scientific Partisol® 2000-FRM, Partisol® 2000i with VSCC™ | MP2.5 | Samplers | RFPS-0498-117 or EQPM-0202-143 | 143
Thermo Scientific Partisol®-Plus 2025 Seq., Partisol® 2025i Seq with WINS | MP2.5 | Samplers | RFPS-0498-118 | 118
Thermo Scientific Partisol®-Plus 2025 Seq., Partisol® 2025i Seq with VSCC™ | MP2.5 | Samplers | RFPS-0498-118 or EQPM-0202-145 | 145
Tisch Environmental Model TE-Wilbur 2.5 with WINS | MP2.5 | Samplers | RFPS-1014-219 | 219
Tisch Environmental Model TE-Wilbur 2.5 with VSCC™ | MP2.5 | Samplers | RFPS-1014-219 | 519
Tisch Environmental Model TE-Wilbur 2.5 with Tisch TE-PM2.5C cyclone | MP2.5 | Samplers | RFPS-1014-219 or EQPS-0415-223 | 223
URG-MASS100 with WINS | MP2.5 | Samplers | RFPS-0400-135 | 135
URG-MASS100 with VSCC™ | MP2.5 | Samplers | RFPS-0400-135 | 535
URG-MASS100 with URG-2000-30EGN cyclone | MP2.5 | Samplers | EQPS-0316-233 | 233
URG-MASS300 | MP2.5 | Samplers | RFPS-0400-136 | 136
URG-MASS300 with VSCC™ | MP2.5 | Samplers | RFPS-0400-136 | 536
URG-MASS300 with URG-2000-30EGN cyclone | MP2.5 | Samplers | EQPS-0316-234 | 234
Environnement S.A. Model MP101M PM2.5 Beta Attenuation Monitor | MP2.5 | Analyzers | EQPM-1013-211 | 211
Grimm Model EDM 180 PM2.5 Monitor | MP2.5 | Analyzers | EQPM-0311-195 | 195
Horiba APDA-371 | MP2.5 | Analyzers | EQPM-0308-170 | 170
Met One BAM-1020 PM-2.5 with VSCC™ | MP2.5 | Analyzers | EQPM-0308-170 | 170
Met One BAM-1020 PM-2.5 with TE-PM2.5C | MP2.5 | Analyzers | EQPM-0308-170 | 570
Met One BAM-1022 Real Time Beta Attenuation Mass Monitor | MP2.5 | Analyzers | EQPM-1013-209 | 209
Met One BAM-1022 with TE-PM2.5C | MP2.5 | Analyzers | EQPM-1013-209 | 509
Met One BAM-1020 with URG-2000-30EGN Cyclone | MP2.5 | Analyzers | EQPM-0715-266 | 266
Thermo Scientific FH62C14-DHS Continuous, 5014i | MP2.5 | Analyzers | EQPM-0609-183 | 183
Opsis SM200 | MP2.5 | Analyzers | EQPM-0812-203 | 203
SWAM 5a Dual Channel Monitor | MP2.5 | Analyzers | EQPM-0912-204 | 204
Teledyne Model 602 BetaPLUS Particle Measurement System | MP2.5 | Analyzers | EQPM-0912-204 | 204
Teledyne Model T640 PM Mass Monitor | MP2.5 | Analyzers | EQPM-0516-236 | 236
Teledyne Model T640 PM Mass Monitor with 640X option | MP2.5 | Analyzers | EQPM-0516-238 | 238
Thermo Scientific Model 5030i Sharp, 5030 SHARP | MP2.5 | Analyzers | EQPM-0609-184 | 184
Thermo Scientific TEOM® 1400a with Series 8500C FDMS® | MP2.5 | Analyzers | EQPM-0609-181 | 181
Thermo Scientific TEOM® 1405-DF Dichot. with FDMS® | MP2.5 | Analyzers | EQPM-0609-182 | 182
Tisch Environmental TE-EDM 180 PM2.5 | MP2.5 | Analyzers | EQPM-0311-195 | 195
BGI or Mesa Laboratories, Inc. Model PQ200 PM10-2.5 sampler pair | MP10-2.5 | Samplers | RFPS-1208-173 | 173
Met One Instruments, Inc. E-FRM PM10-2.5 | MP10-2.5 | Samplers | RFPS-0316-232 | 232
Met One Instruments, Inc. E-SEQ-FRM PM10-2.5 sampler pair | MP10-2.5 | Samplers | RFPS-0717-247 | 247
Thermo Scientific Partisol® 2000-FRM sampler pair, Partisol® 2000i sampler pair | MP10-2.5 | Samplers | RFPS-0509-175 | 175
Thermo Scientific Partisol®-Plus 2025 Seq. sampler pair, Partisol® 2025i Seq sampler pair | MP10-2.5 | Samplers | RFPS-0509-176 | 176
Thermo Scientific Partisol® 2000-D Dichot., Partisol® 2000i-D Dichot. | MP10-2.5 | Samplers | EQPS-0509-178 | 178
Thermo Scientific Dichot. Partisol®-Plus Model 2025-D Seq., Partisol® 2025i-D Dichot. Seq. | MP10-2.5 | Samplers | EQPS-0509-180 | 180
Tisch Environmental Model TE-Wilbur Low-Volume Air Particulate Sampler Pair with WINS | MP10-2.5 | Samplers | RFPS-1014-220 | 220
Tisch Environmental Model TE-Wilbur Low-Volume Air Particulate Sampler Pair with VSCC™ | MP10-2.5 | Samplers | RFPS-1014-220 | 520
Tisch Environmental Model TE-Wilbur Low-Volume Air Particulate Sampler Pair with Tisch TE-PM2.5C cyclone | MP10-2.5 | Analyzers | RFPS-1014-220 or EQPS-0415-224 | 224
Met One Instruments BAM-1020 System | MP10-2.5 | Analyzers | EQPM-0709-185 | 185
SWAM 5a Dual Channel Monitor | MP10-2.5 | Analyzers | EQPM-0912-206 | 206
Teledyne Model 602 BetaPLUS Particle Measurement System | MP10-2.5 | Analyzers | EQPM-0912-206 | 206
Teledyne Model T640 PM Mass Monitor with 640X option | MP10-2.5 | Analyzers | EQPM-0516-240 | 240
Thermo Scientific TEOM® 1405-DF with FDMS® | MP10-2.5 | Analyzers | EQPM-1013-207 | 207
Reference method (pararosaniline) | SO2 | Analyzers | — | 97
Technicon I (pararosaniline) | SO2 | Analyzers | EQS-0775-001 | 97
Technicon II (pararosaniline) | SO2 | Analyzers | EQS-0775-002 | 97
Advanced Pollution Instr. 100 | SO2 | Analyzers | EQSA-0990-077 | 77
Advanced Pollution Instr. 100A/100AS | SO2 | Analyzers | EQSA-0495-100 | 100
Asarco 500 | SO2 | Analyzers | EQSA-0877-024 | 24
Beckman 953 | SO2 | Analyzers | EQSA-0678-029 | 29
Bendix 8303 | SO2 | Analyzers | EQSA-1078-030 | 30
Casella ML9850, ML9850B, CM2050, CM2050B | SO2 | Analyzers | EQSA-0193-092 | 92
Columbia Scientific Industries 5700 | SO2 | Analyzers | EQSA-0494-095 | 95
Dasibi 4108 | SO2 | Analyzers | EQSA-1086-061 | 61
DKK-TOA Corp. GFS-32 | SO2 | Analyzers | EQSA-0701-115 | 115
DKK-TOA Corp. GFS-112E, GFS-112E-1 | SO2 | Analyzers | EQSA-0100-133 | 133
DKK-TOA Corp. GFS-312E | SO2 | Analyzers | EQSA-1107-168 | 168
Ecotech ML9850/EC9850, ML9850B/EC9850B | SO2 | Analyzers | EQSA-0193-092 | 92
Ecotech EC9850T | SO2 | Analyzers | EQSA-0193-092 | 92
Ecotech Serinus 50 | SO2 | Analyzers | EQSA-0809-188 | 188
Environnement S.A AF21M | SO2 | Analyzers | EQSA-0292-084 | 84
Environnement S.A AF22M | SO2 | Analyzers | EQSA-0802-149 | 149
Environnement S.A. SANOA | SO2 | Analyzers | EQSA-0400-138 | 138
Horiba Model APSA-360/APSA-360ACE | SO2 | Analyzers | EQSA-0197-114 | 114
Horiba Model APSA-370 | SO2 | Analyzers | EQSA-0506-159 | 159
Lear Siegler AM2020 | SO2 | Analyzers | EQSA-1280-049 | 49
Lear Siegler SM1000 | SO2 | Analyzers | EQSA-1275-005 | 5
Meloy SA185-2A | SO2 | Analyzers | EQSA-1275-006 | 6
Meloy SA285E | SO2 | Analyzers | EQSA-1078-032 | 32
Meloy SA700 | SO2 | Analyzers | EQSA-0580-046 | 46
Monitor Labs 8450 | SO2 | Analyzers | EQSA-0876-013 | 513
Monitor Labs or Lear Siegler 8850 | SO2 | Analyzers | EQSA-0779-039 | 39
Monitor Labs or Lear Siegler 8850S | SO2 | Analyzers | EQSA-0390-075 | 75
Opsis AB OPS50 | SO2 | Analyzers | EQSA-0809-188 | 188
Opsis AR 500, System 300 (open path) | SO2 | Analyzers | EQSA-0495-101 | 101
Philips PW9700 | SO2 | Analyzers | EQSA-0876-011 | 511
Philips PW9755 | SO2 | Analyzers | EQSA-0676-010 | 10
recordum airpointer® system | SO2 | Analyzers | EQSA-0495-100 | 100
recordum airpointer® system | SO2 | Analyzers | EQSA-0486-060 | 60
SERES SF 2000 G | SO2 | Analyzers | EQSA-0810-194 | 194
SIR S.A. S-5001 | SO2 | Analyzers | EQSA-0507-166 | 166
Sutron Model 6020 | SO2 | Analyzers | RFSA-0616-237 | 237
Teledyne Advanced Pollution Inst. 100A, 100 AS, 100E, 100EU, T100, T100U | SO2 | Analyzers | EQSA-0495-100 | 100
Teledyne Analytical Instruments 6400A | SO2 | Analyzers | EQSA-0495-100 | 100
Teledyne Analytical Instruments 6400E | SO2 | Analyzers | EQSA-0809-188 | 188
Teledyne Monitor Labs ML9850, ML9850B | SO2 | Analyzers | EQSA-0193-092 | 92
Teledyne Monitor Labs TML-50 | SO2 | Analyzers | EQSA-0495-100 | 100
Thermo Electron 43 | SO2 | Analyzers | EQSA-0276-009 | 9
Thermo Electron 43A, 43C-TLE, 43i, 43iQ | SO2 | Analyzers | EQSA-0486-060 | 60
Thermo Environmental Instruments 43B, 43C | SO2 | Analyzers | EQSA-0486-060 | 60
Tisch Environmental Model TE 2.0 | SO2 | Analyzers | EQSA-0809-188 | 188
Wedding 1040 | SO2 | Analyzers | EQSA-0193-092 | 92
2B Technologies Model 202 | O3 | Analyzers | EQOA-0410-190 | 190
2B Technologies Models 211, 211-G | O3 | Analyzers | EQOA-0514-215 | 215
2B Technologies Model 106 | O3 | Analyzers | EQOA-0914-218 | 218
2B Technologies Model POM | O3 | Analyzers | EQOA-0815-227 | 227
Advanced Pollution Instr. 400/400A/400E | O3 | Analyzers | EQOA-0992-087 | 87
Beckman 950A | O3 | Analyzers | RFOA-0577-020 | 20
Bendix 8002 | O3 | Analyzers | RFOA-0176-007 | 7
Casella ML9810, ML9810B, ML9811, ML9812, CM2010, CM2010B, CM2011, CM2012 | O3 | Analyzers | EQOA-0193-091 | 91
Columbia Scientific Industries 2000 | O3 | Analyzers | RFOA-0279-036 | 36
Dasibi 1003-AH, -PC, -RS | O3 | Analyzers | EQOA-0577-019 | 19
Dasibi 1008-AH, -PC, -RS | O3 | Analyzers | EQOA-0383-056 | 56
DKK-TOA Corp. GUX-113E, GUX-113E-1 | O3 | Analyzers | EQOA-0200-134 | 134
DKK-TOA Corp. GUX-313E | O3 | Analyzers | EQOA-1107-169 | 169
Ecotech ML9810/EC9810, -9810B, -9811, -9812 | O3 | Analyzers | EQOA-0193-091 | 91
Ecotech Serinus 10 | O3 | Analyzers | EQOA-0809-187 | 187
Environics 300 | O3 | Analyzers | EQOA-0990-078 | 78
Environnement S.A O341M | O3 | Analyzers | EQOA-0895-105 | 105
Environnement S.A O342M | O3 | Analyzers | EQOA-0206-148 | 148
Environnement S.A SANOA | O3 | Analyzers | EQOA-0400-137 | 137
Environnement S.A O3 42e | O3 | Analyzers | EQOA-0515-225 | 225
Horiba APOA-360 | O3 | Analyzers | EQOA-0196-112 | 112
Horiba APOA-370 | O3 | Analyzers | EQOA-0506-160 | 160
McMillan 1100-1 | O3 | Analyzers | RFOA-1076-014 | 514
McMillan 1100-2 | O3 | Analyzers | RFOA-1076-015 | 515
McMillan 1100-3 | O3 | Analyzers | RFOA-1076-016 | 16
Meloy OA325-2R | O3 | Analyzers | RFOA-1075-003 | 3
Meloy OA350-2R | O3 | Analyzers | RFOA-1075-004 | 4
Monitor Labs 8410E | O3 | Analyzers | RFOA-1176-017 | 17
Monitor Labs or Lear Siegler 8810 | O3 | Analyzers | EQOA-0881-053 | 53
Opsis AB OPS10 | O3 | Analyzers | EQOA-0809-187 | 187
Opsis AR 500, System 300 (open path) | O3 | Analyzers | EQOA-0495-103 | 103
PCI Ozone Corp. LC-12 | O3 | Analyzers | EQOA-0382-055 | 55
Philips PW9771 | O3 | Analyzers | EQOA-0777-023 | 23
recordum airpointer® system | O3 | Analyzers | EQOA-0992-087 | 87
recordum airpointer® system | O3 | Analyzers | EQOA-0880-047 | 47
Seres Model OZ 2000 G | O3 | Analyzers | EQOA-0506-161 | 161
SIR S.A. S-5014 | O3 | Analyzers | EQOA-0207-164 | 164
Sutron Model 6030 | O3 | Analyzers | EQOA-0415-222 | 222
Tanabyte 722, 723, 724, 725, 726 | O3 | Analyzers | EQOA-0407-165 | 165
Teledyne Advanced Pollution Instr. 265E, T265 | O3 | Analyzers | EQOA-0611-199 or RFOA-0216-230 | 199
Teledyne Advanced Pollution Instr. 400, 400A, 400E, T400 | O3 | Analyzers | EQOA-0992-087 | 87
Teledyne Advanced Pollution Instr. T204 | O3 | Analyzers | EQOA-0514-214 | 214
Teledyne Advanced Pollution Instr. Model 430 | O3 | Analyzers | EQOA-1015-229 | 229
Teledyne Monitor Labs ML9810/9810B, ML9811, ML9812 | O3 | Analyzers | EQOA-0193-091 | 91
Teledyne Monitor Labs TML-10 | O3 | Analyzers | EQOA-0992-087 | 87
Thermo Electron or Thermo Environmental Instruments 49, 49C, 49i, 49iQ | O3 | Analyzers | EQOA-0880-047 | 47
Tisch Environmental TE 1.0 | O3 | Analyzers | EQOA-0809-187 | 187
Wedding 1010 | O3 | Analyzers | EQOA-0193-091 | 91
Beckman 866 | CO | Analyzers | RFCA-0876-012 | 12
Bendix 8501-5CA | CO | Analyzers | RFCA-0276-008 | 8
Casella ML9830, ML9830B, CM2030, CM2030B | CO | Analyzers | RFCA-0992-088 | 88
Dasibi 3003 | CO | Analyzers | RFCA-0381-051 | 51
Dasibi 3008 | CO | Analyzers | RFCA-0488-067 | 67
DKK-TOA Corp. GFC-311E | CO | Analyzers | RFCA-0907-167 | 167
Ecotech Serinus 30 | CO | Analyzers | RFCA-0509-174 | 174
Ecotech ML9830/EC9830, ML9830B/EC9830B | CO | Analyzers | RFCA-0992-088 | 88
Ecotech EC9830T | CO | Analyzers | RFCA-0992-088 | 88
Environnement S.A CO11M | CO | Analyzers | RFCA-0995-108 | 108
Environnement S.A CO12M | CO | Analyzers | RFCA-0206-147 | 147
Environnement S.A CO12e | CO | Analyzers | RFCA-0915-228 | 228
Horiba AQM-10, -11, -12 | CO | Analyzers | RFCA-1278-033 | 33
Horiba 300E/300SE | CO | Analyzers | RFCA-1180-048 | 48
Horiba APMA-360 | CO | Analyzers | RFCA-0895-106 | 106
Horiba APMA-370 | CO | Analyzers | RFCA-0506-158 | 158
Kentek Mezus Model 310 | CO | Analyzers | RFCA-0317-244 | 244
MASS – CO 1 (Massachusetts) | CO | Analyzers | RFCA-1280-050 | 50
Monitor Labs 8310 | CO | Analyzers | RFCA-0979-041 | 41
Monitor Labs or Lear Siegler 8830 | CO | Analyzers | RFCA-0388-066 | 66
MSA 202S | CO | Analyzers | RFCA-0177-018 | 18
Opsis AB OPS 30 | CO | Analyzers | RFCA-0509-174 | 174
Peak Laboratories Model 910-170 | CO | Analyzers | EQCA-0814-217 | 217
recordum airpointer® system | CO | Analyzers | RFCA-1093-093 | 93
recordum airpointer® system | CO | Analyzers | RFCA-0981-054 | 54
SIR S.A. Model S-5006 | CO | Analyzers | RFCA-0708-172 | 172
Sutron Corp. Model 6050 | CO | Analyzers | RFCA-0817-248 | 248
Teledyne Adv. Pollution Instr. 300, 300E, 300EU, T300, T300U | CO | Analyzers | RFCA-1093-093 | 93
Teledyne Analytical Instruments GFC7001E | CO | Analyzers | RFCA-0509-174 | 174
Teledyne Monitor Labs ML9830/9830B | CO | Analyzers | RFCA-0992-088 | 88
Teledyne Monitor Labs TML-30 | CO | Analyzers | RFCA-1093-093 | 93
Thermo Electron or Thermo Environmental Instruments 48, 48C, 48i, 48iTLE, 48iQ | CO | Analyzers | RFCA-0981-054 | 54
Tisch Environmental Model TE 3.0 | CO | Analyzers | RFCA-0509-174 | 174
Wedding 1020 | CO | Analyzers | RFCA-0992-088 | 88
Sodium arsenite (orifice) | NO2 | Manual Methods | EQN-1277-026 | 84
Sodium arsenite/Technicon II | NO2 | Manual Methods | EQN-1277-027 | 84
TGS-ANSA (orifice) | NO2 | Manual Methods | EQN-1277-028 | 98
2B Technologies Model 405 | NO2 | Manual Methods | EQNA-0217-243 | 243
Advanced Pollution Instr. 200 | NO2 | Manual Methods | RFNA-0691-082 | 82
Advanced Pollution Instr. 200A/200AU | NO2 | Manual Methods | RFNA-1194-099 | 99
Beckman 952A | NO2 | Manual Methods | RFNA-0179-034 | 34
Bendix 8101-B | NO2 | Manual Methods | RFNA-0479-038 | 38
Bendix 8101-C | NO2 | Manual Methods | RFNA-0777-022 | 22
Casella ML9841, ML9841A, ML9841B, CM2041, CM2041A, CM2041B | NO2 | Manual Methods | RFNA-1292-090 | 90
Columbia Scientific Indust.1600, 5600 | NO2 | Manual Methods | RFNA-0977-025 | 25
Dasibi 2108 | NO2 | Manual Methods | RFNA-1192-089 | 89
DKK-TOA Corp GLN-114E, GLN-114E-1 | NO2 | Manual Methods | RFNA-0798-121 | 121
DKK-TOA Corp GLN-314E | NO2 | Manual Methods | RFNA-0508-171 | 171
Ecotech ML9841A/EC9841A,ML9841B/EC9841B | NO2 | Manual Methods | RFNA-1292-090 | 90
Ecotech EC9841T | NO2 | Manual Methods | RFNA-1292-090 | 90
Ecotech Serinus 40 | NO2 | Manual Methods | RFNA-0809-186 | 186
Ecotech Serinus 44 | NO2 | Manual Methods | RFNA-0809-186 | 186
Ecotech Serinus 60 | NO2 | Manual Methods | EQNA-0217-242 | 242
Environnement S.A. AC31M | NO2 | Manual Methods | RFNA-0795-104 | 104
Environnement S.A. AC32M | NO2 | Manual Methods | RFNA-0202-146 | 146
Environnement S.A. AC32e, AC32e* | NO2 | Manual Methods | RFNA-0118-249 | 249
Environnement S.A. SANOA | NO2 | Manual Methods | EQNA-0400-139 | 139
Environnement S.A. AS32M | NO2 | Manual Methods | EQNA-1013-210 | 210
Horiba APNA-360 | NO2 | Manual Methods | RFNA-0196-111 | 111
Horiba APNA-370 | NO2 | Manual Methods | RFNA-0506-157 | 157
Meloy NA530R | NO2 | Manual Methods | RFNA-1078-031 | 31
Monitor Labs 8440E | NO2 | Manual Methods | RFNA-0677-021 | 21
Monitor Labs or Lear Siegler 8840 | NO2 | Manual Methods | RFNA-0280-042 | 42
Monitor Labs or Lear Siegler 8841 | NO2 | Manual Methods | RFNA-0991-083 | 83
Monitor Labs ML9841 | NO2 | Manual Methods | RFNA-1292-090 | 90
Opsis AB OPS40 | NO2 | Manual Methods | RFNA-0809-186 | 186
Opsis AR 500, System 300 (open path) | NO2 | Manual Methods | EQNA-0495-102 | 102
Philips PW9762/02 | NO2 | Manual Methods | RFNA-0879-040 | 40
recordum airpointer system | NO2 | Manual Methods | RFNA-1194-099 | 99
recordum airpointer system | NO2 | Manual Methods | RFNA-1289-074 | 74
Sabio Model 6040 NO/NO2/NOx | NO2 | Manual Methods | RFNA-0418-250 | 250
Seres Model NOx 2000 G | NO2 | Manual Methods | RFNA-0706-163 | 163
SIR S.A. S-5012 | NO2 | Manual Methods | RFNA-0804-152 | 152
Teledyne Advanced Pollution Inst. 200A, 200AU, 200E, 200EU, T200, T200U, T204 | NO2 | Manual Methods | RFNA-1194-099 | 99
Teledyne Advanced Pollution Inst. T500U | NO2 | Manual Methods | EQNA-0514-212 | 212
Teledyne Advanced Pollution Inst. 200EUP, T200UP | NO2 | Manual Methods | EQNA-0512-200 | 200
Teledyne Advanced Pollution Inst. T200P | NO2 | Manual Methods | EQNA-1016-241 | 241
Teledyne Analytical Instruments 9110A, 9110E, 9110T | NO2 | Manual Methods | RFNA-1194-099 | 99
Teledyne Analytical Instruments 9110E | NO2 | Manual Methods | RFNA-0809-186 | 186
Teledyne Monitor Labs ML9841, ML9841A, ML9841B | NO2 | Manual Methods | RFNA-1292-090 | 90
Teledyne Monitor Labs TML-41 | NO2 | Manual Methods | RFNA-1194-099 | 99
Thermo Electron or Thermo Environmental Instruments 14B/E | NO2 | Manual Methods | RFNA-0179-035 | 35
Thermo Electron or Thermo Environmental Instruments 14D/E | NO2 | Manual Methods | RFNA-0279-037 | 37
Thermo Environmental Instr. 42, 42C, 42i, 42iQ | NO2 | Manual Methods | RFNA-1289-074 | 74
Tisch Environmental Model TE 4.0 | NO2 | Manual Methods | RFNA-0809-186 | 186
Wedding 1030 | NO2 | Manual Methods | RFNA-1292-090 | 90
Hi-vol/AAS (alt. extr.) | Pb | Manual Methods | EQL-0380-043 | 43
Hi-vol/Energy-disp XRF (TX ACB) | Pb | Manual Methods | EQL-0783-058 | 58
Hi-vol/Energy-disp XRF (NEA) | Pb | Manual Methods | EQL-0589-072 | 72
Hi-vol/FAAS | Pb | Manual Methods | EQLA-0813-803 | 803
Hi-vol/Flameless AA (EMSL/EPA) | Pb | Manual Methods | EQL-0380-044 | 44
Hi-vol/Flameless AA (Houston) | Pb | Manual Methods | EQL-0895-107 | 107
Hi-vol/Flameless AA (Omaha) | Pb | Manual Methods | EQL-0785-059 | 59
Hi-vol/ICAP-OES (Doe Run Co.) | Pb | Manual Methods | EQL-0196-113 | 113
Hi-vol/ICAP-OES (EMSL/EPA) | Pb | Manual Methods | EQL-0380-045 | 45
Hi-vol/ICAP-OES (Illinois) | Pb | Manual Methods | EQL-1193-094 | 94
Hi-vol/ICAP-OES (Kansas) | Pb | Manual Methods | EQL-0592-085 | 85
Hi-vol/ICAP-OES (Montana) | Pb | Manual Methods | EQL-0483-057 | 57
Hi-vol/ICAP-OES (NE&T) | Pb | Manual Methods | EQL-1188-069 | 69
Hi-vol/ICAP-OES (New Hampshire) | Pb | Manual Methods | EQL-1290-080 | 80
Hi-vol/ICAP-OES (Pennsylvania) | Pb | Manual Methods | EQL-0592-086 | 86
Hi-vol/ICAP-OES (Pima Co.,AZ) | Pb | Manual Methods | EQL-0995-109 | 109
Hi-vol/ICAP-MS (Pima Co.,AZ) | Pb | Manual Methods | EQL-0995-110 | 110
Hi-vol/ICAP-OES (Rhode Island) | Pb | Manual Methods | EQL-0888-068 | 68
Hi-vol/ICAP-OES (Silver Val. Labs) | Pb | Manual Methods | EQL-1288-070 | 70
Hi-vol/ICAP-AES (TNRCC) | Pb | Manual Methods | EQL-0400-140 | 140
Hi-vol/ICAP-OES (West Virginia) | Pb | Manual Methods | EQL-0694-096 | 96
Hi-vol/WL-disp. XRF (CA A&IHL) | Pb | Manual Methods | EQL-0581-052 | 52
Hi-vol/ICP-MS (IML, Inc) | Pb | Manual Methods | EQL-0310-189 | 189
Hi-Vol/ICP-MS (US EPA/OAQPS) | Pb | Manual Methods | EQL-0510-191 | 191
Hi-Vol/ICP-MS (US EPA/Region 9) | Pb | Manual Methods | EQL-0710-192 | 192
Hi-Vol/ICP-AES (US EPA/OAQPS) | Pb | Manual Methods | EQL-0311-196 | 196
Hi-Vol/ICP-MS (ERG) | Pb | Manual Methods | EQL-0512-201 | 201
PM10/ICP-MS (ERG) | Pb | Manual Methods | EQL-0512-202 | 202
Hi-Vol/TOF ICP-MS (SCAQMD) | Pb | Manual Methods | EQL-0514-213 | 213

## Hoja10 (hidden)
Código | Significado | Justificación
2.a | Dato inválido | Por falla de energía
2.b | Dato inválido | Por falla de equipo
2.c | Dato inválido | Fuera de rango de temperatura de operación
2.d | Dato inválido | Por cambio de equipo
2.e | Dato inválido | Por mantención en terreno
2.f | Dato inválido | Por tiempo mínimo de muestreo
2.g | Dato inválido | Por exceso de tiempo de muestreo
2.h | Dato inválido | Valor fuera de rango
3.a | Sin dato | Por falla general de equipo
Resolución
5 Minutos
15 Minutos
1 hora
1 día
Motivo Cambio Equipo
Cambio Tecnología
Falla Equipo
Mantención
Cumplimiento D.S N°61/08
ppb
ppm
μg/m³N
μg/m³
18
19
WGS84

## Metadata
I.- Instrucciones generales |  |  |  |  | Versión | N°00
[5 empty] | Fecha | 2017-05-22
En primer lugar deberá informar los datos generales de la estación de monitoreo: |  |  |  | Datos Estación
En dicha hoja deberá indicar los datos generales de la estación y marcar los contaminantes a informar.
Completar cada hoja según el contaminante a informar.
II.- Tipo de datos a presentar
1.- Datos Crudos.
Deberán ser informados con la siguiente resolución temporal:
Resolución | Contaminante | Tipo Equipo
5 Minutos | Gases | Analizador
15 Minutos | Material Particulado | Analizador
1 Día | Material Particulado/Pb/Fe | Muestreador*
* incluye además de muestradores gravimétricos a analizador de Material Particulado BAM
2.- Datos sin validar.
Obtenido a partir de los datos crudos.
- En el caso de datos obtenidos a partir de un analizador o subsistema, corresponderá presentar un PROMEDIO HORARIO, calculado a partir de datos crudos medidos con una resolución de 5 ó 15 minutos, según corresponda.
- En el caso de que el equipo sea un muestreador, corresponderá presentar el valor de la concentración diaria medida.
3.- Datos validados.
Obtenido a partir del proceso de validación de los datos crudos que realice el operador.
- En el caso de datos obtenidos a partir de un analizador, corresponderá presentar un PROMEDIO HORARIO.
- En el caso de que el equipo sea un muestreador, corresponderá presentar el valor de la concentración diaria.
III.- Formatos
| Concentración diaria | Concentración horaria | Datos crudos
Fecha y hora | aaaammdd | aaaammdd hh | aaaammdd hhmm
Ejemplo | 20131127 | 20131127 08 | 20131127 0815
IV.- Unidades
Los datos deberán ser reportados en las siguientes unidades:
Contaminante | Unidad
NOx | ppb
NO | ppb
NO2 | ppb
CO | ppm
O3 | ppb
SO2 | ppb
MP10 | μg/m³N
MP2,5 | μg/m³
MPS | μg/m³
Pb | μg/m³
Fe | μg/m³
Clave | sma

## Datos Estación
Nombre Estación | Tierra Amarilla
Operador (s) | CESMEC S.A
Titular | S.C.M Atacama KOZAN S.A
Dirección
Avenida/Calle | Ignacio Carrera Pinto | N° | 450
Comuna | Tierra Amarilla | Provincia | Copiapó | Región | Atacama
UTM N | 6956287
UTM E | 315065
DATUM | WGS84
HUSO
Contaminantes a informar:
NOx
NO
NO2
CO
O3
SO2
MP10
MP2,5
Pb
MPS
Fe
Otro | Indicar:

## MP10
Datos del equipo | [8 empty] | Validación |  | Calibración |  |  |  |  | Mantención
N° Serie | Marca | Modelo | Parámetro | Tipo | Denominación | Código del metodo | Periodo de Uso del Equipo (aaaammdd hhmm - aaaammdd hhmm) | Motivo Cambio Equipo | Unidad de Medición del Equipo | Factor de Conversión de Unidad | Patrón Flujo | Marca/Modelo | N° Serie | Fecha de Certificación Patrón | Fecha de Calibración | Fecha Última Mantención
0940911371U | W&A/Thermo Electron Model 600 HVL | W&A/Thermo Electron Model 600 HVL | MP10 | Samplers | RFPS-1087-062 | 62 | 20220101 00:00-20221231 23:59
PROMEDIOS HORARIOS EQUIPOS CONTINUOS |  |  |  |  | PROMEDIOS DIARIOS EQUIPOS GRAVIMETRICOS
Fecha y Hora (aaaammdd hh) | Dato sin Validar MP10 | Dato Validado MP10 | Código de Invalidación de datos (D.S. N°61/2008) |  | Fecha (aaaammdd) | Dato sin Validar MP10 | Dato Validado MP10 | Código de Invalidación de datos (D.S. N°61/2008)
[5 empty] | 2022-01-02 |  | 27.5
[5 empty] | 2022-01-05 |  | 29.6
[5 empty] | 2022-01-08 |  | 31.4
[5 empty] | 2022-01-11 |  | 31.3
[5 empty] | 2022-01-14 |  |  | 3.a
[5 empty] | 2022-01-17 |  | 26.4
[5 empty] | 2022-01-20 |  | 22.2
[5 empty] | 2022-01-23 |  | 34.6
[5 empty] | 2022-01-26 |  | 30.2
[5 empty] | 2022-01-29 |  | 24.1
[5 empty] | 2022-02-01 |  | 17.2
[5 empty] | 2022-02-04 |  | 27.7
[5 empty] | 2022-02-07 |  | 22.8
[5 empty] | 2022-02-10 |  | 17.4
[5 empty] | 2022-02-13 |  | 21.3
[5 empty] | 2022-02-16 |  | 33.4
[5 empty] | 2022-02-19 |  | 25.5
[5 empty] | 2022-02-22 |  | 30.1
[5 empty] | 2022-02-25 |  | 44.4
[5 empty] | 2022-02-28 |  | 31.3
[5 empty] | 2022-03-03 |  | 17.4
[5 empty] | 2022-03-06 |  | 53.9
[5 empty] | 2022-03-09 |  | 59
[5 empty] | 2022-03-12 |  | 36.2
[5 empty] | 2022-03-15 |  | 65.3
[5 empty] | 2022-03-18 |  | 157.6
[5 empty] | 2022-03-21 |  | 15.3
[5 empty] | 2022-03-24 |  | 38.4
[5 empty] | 2022-03-27 |  | 45.8
[5 empty] | 2022-03-30 |  | 36.9
[5 empty] | 2022-04-02 |  | 32.4
[5 empty] | 2022-04-05 |  | 56.4
[5 empty] | 2022-04-08 |  | 47.9
[5 empty] | 2022-04-11 |  | 31
[5 empty] | 2022-04-14 |  | 41.6
[5 empty] | 2022-04-17 |  | 65.2
[5 empty] | 2022-04-20 |  | 65.8
[5 empty] | 2022-04-23 |  | 33.8
[5 empty] | 2022-04-26 |  | 37.3
[5 empty] | 2022-04-29 |  | 36.5
[5 empty] | 2022-05-02 |  | 48.7
[5 empty] | 2022-05-05 |  | 64.6
[5 empty] | 2022-05-08 |  | 30.1
[5 empty] | 2022-05-11 |  | 59.2
[5 empty] | 2022-05-14 |  | 54.4
[5 empty] | 2022-05-17 |  | 84.6
[5 empty] | 2022-05-20 |  | 87.9
[5 empty] | 2022-05-23 |  | 73.1
[5 empty] | 2022-05-26 |  | 62.2
[5 empty] | 2022-05-29 |  | 60
[5 empty] | 2022-06-01 |  | 29.9
[5 empty] | 2022-06-04 |  | 71.9
[5 empty] | 2022-06-07 |  | 51.5
[5 empty] | 2022-06-10 |  | 71.1
[5 empty] | 2022-06-13 |  | 61
[5 empty] | 2022-06-16 |  | 65.2
[5 empty] | 2022-06-19 |  | 56.7
[5 empty] | 2022-06-22 |  | 31
[5 empty] | 2022-06-25 |  | 91.1
[5 empty] | 2022-06-28 |  | 49.5
[5 empty] | 2022-07-01 |  | 36.1
[5 empty] | 2022-07-04 |  | 75.3
[5 empty] | 2022-07-07 |  | 122.7
[5 empty] | 2022-07-10 |  | 44.6
[5 empty] | 2022-07-13 |  | 33.4
[5 empty] | 2022-07-16 |  | 20.7
[5 empty] | 2022-07-19 |  | 63.2
[5 empty] | 2022-07-22 |  | 54.8
[5 empty] | 2022-07-25 |  | 54.4
[5 empty] | 2022-07-28 |  | 43.6
[5 empty] | 2022-07-31 |  | 38.8
[5 empty] | 2022-08-03 |  | 18
[5 empty] | 2022-08-06 |  | 44.1
[5 empty] | 2022-08-09 |  | 70.8
[5 empty] | 2022-08-12 |  | 47.6
[5 empty] | 2022-08-15 |  | 44.8
[5 empty] | 2022-08-18 |  | 53.1
[5 empty] | 2022-08-21 |  | 43
[5 empty] | 2022-08-24 |  | 60.7
[5 empty] | 2022-08-27 |  | 52.3
[5 empty] | 2022-08-30 |  | 49.2
[5 empty] | 2022-09-02 |  | 59.6
[5 empty] | 2022-09-05 |  | 61.9
[5 empty] | 2022-09-06 |  | 39.5
[5 empty] | 2022-09-08 |  | 31.3
[5 empty] | 2002-09-11 |  | 30.3
[5 empty] | 2022-09-14 |  | 49.5
[5 empty] | 2022-09-17 |  | 27.2
[5 empty] | 2022-09-20 |  | 41.9
[5 empty] | 2022-09-23 |  | 50.2
[5 empty] | 2022-09-26 |  | 58.3
[5 empty] | 2022-09-29 |  | 46
[5 empty] | 2022-10-02 |  | 52.6
[5 empty] | 2022-10-05 |  | 22.7
[5 empty] | 2022-10-08 |  | 43.2
[5 empty] | 2022-10-11 |  | 53.5
[5 empty] | 2022-10-14 |  | 63
[5 empty] | 2022-10-17 |  | 51.5
[5 empty] | 2022-10-20 |  | 45.5
[5 empty] | 2022-10-23 |  | 39.2
[5 empty] | 2022-10-26 |  | 50.4
[5 empty] | 2022-10-29 |  | 45.5
[5 empty] | 2022-11-01 |  | 45.6
[5 empty] | 2022-11-04 |  | 35
[5 empty] | 2022-11-07 |  | 37.7
[5 empty] | 2022-11-10 |  | 35.1
[5 empty] | 2022-11-13 |  | 29.3
[5 empty] | 2022-11-16 |  | 42
[5 empty] | 2022-11-19 |  | 26.5
[5 empty] | 2022-11-22 |  | 56.3
[5 empty] | 2022-11-25 |  | 75.9
[5 empty] | 2022-11-28 |  | 23.3
[5 empty] | 2022-12-01 |  | 28.5
[5 empty] | 2022-12-04 |  | 48.2
[5 empty] | 2022-12-07 |  | 27.6
[5 empty] | 2022-12-10 |  | 38.4
[5 empty] | 2022-12-13 |  | 49
[5 empty] | 2022-12-16 |  | 38.5
[5 empty] | 2022-12-19 |  | 32.3
[5 empty] | 2022-12-22 |  | 54.6
[5 empty] | 2022-12-25 |  | 36.6
[5 empty] | 2022-12-26 |  | 42.1
[5 empty] | 2022-12-28 |  | 35.8
[5 empty] | 2022-12-31 |  | 28.2